Aravali College of Engineering and Management, Faridabad

Observation Summary – Applied Science Labs 5S Audit (Date: 07/08/2025)

1. Common Strengths Across All Labs

Sorting (Seiri)

- Unused equipment removed from labs.

- Most broken or obsolete tools identified and tagged.

- Some expired or unnecessary materials already disposed of.

Shining (Seiso)

- Floors, tables, and chairs generally kept clean.

- Walls, windows, and lighting fixtures are dust-free in several areas.

- Equipment covers are used when items are not in operation.

Standardizing (Seiketsu)

- Defined zones for storage and working implemented in some areas.

- Lab layout and properties displayed in visible spots.

Sustaining (Shitsuke)

- Visual reminders/posters for lab practices displayed in certain locations.

- Awareness of 5S concepts present among staff.

2. Common Non-Conformities / Improvements Required

SOPs (Standard Operating Procedures)

- Missing or incomplete in both labs; marked as “Required” or “Partial.”

Cleaning Schedules & Responsibilities

- Absent in both labs; no documented daily/weekly cleaning plan.

Equipment & Material Labeling

- Inconsistent; several items not tagged or labeled for easy identification.

Audit & Follow-Up Process

- No established system for periodic 5S audit checklists.

Training & Orientation

- No record of recent training sessions for lab users on 5S methodology.

3. Lab-Specific Remarks

Physics Lab

- Most core cleanliness and organization measures “OK.”

- SOPs and cleaning schedules required.

- Some tool-specific shadow boards are absent.

- A few “Required” remarks for emergency tool labeling and documentation.

Chemistry Lab

- Several checklist items “Partial,” particularly for labeling and disposal of expired chemicals.

- SOPs required for key lab operations.

- Cleaning schedules are absent.

- Audit checklists not in place.

4. Overall Recommendation

- Develop and implement SOPs for all major lab activities.

- Create and maintain cleaning schedules with clear task assignments.

- Improve labeling and tagging of equipment, tools, and storage areas.

- Set up 5S audit checklists and conduct quarterly follow-ups.

- Provide 5S awareness and training sessions for lab staff and students.

- Introduce shadow boards or organized storage systems for tools and equipment.