Aravali College of Engineering and Management, Faridabad

Observation Summary – ECE Labs 5S Audit (08/08/2025)

1. Common Strengths Across All Labs

Sorting (Seiri)

- Most obsolete and damaged items identified and removed in several labs.

- Expired chemicals are mostly not applicable for these labs.

- Non-functional test equipment cleared in most areas.

Set in Order (Seiton)

- Test equipment is generally arranged logically.

- Cable management systems implemented in most labs.

- Proper ESD protection zones set in place in multiple labs.

Shining (Seiso)

- Regular cleaning of electronic equipment in most labs.

- Work surfaces are maintained dust-free and static-free.

- Calibration of test instruments carried out in several labs.

- Proper ventilation systems operational.

2. Common Non-Conformities / Improvements Required

Component Storage and Labeling

- Labeled storage bins for components are inconsistent; many marked as “Partial” or “Required.”

Safety Procedures & SOPs

- Component handling procedures and electrical work safety protocols missing or marked as “Required” in most labs.

Inventory & Maintenance Standards

- Equipment calibration schedules and workspace organization standards are absent or incomplete.

Record Keeping & Monitoring

- Equipment usage logs often missing (“Required” in multiple labs).

- Review of safety procedures not consistently done (“Partial” in some labs).

Continuous Improvement

- No formal system for collecting and implementing improvement suggestions (marked N/A).

3. Lab-Specific Remarks

B.E.T. Lab (Basement)

- Most checklist items “OK,” but component labeling, safety protocols, and calibration schedules required.

- Equipment usage logs missing.

Workshop Lab (R.N. 315)

- Similar to BET Lab; component labeling partial, SOPs missing, equipment logs required.

Communication Systems Lab (R.N. 399)

- Component labeling partial; calibration and workspace organization required.

- Usage logs and safety reviews incomplete.

Digital Electronics Lab (R.N. 316)

- Component removal partial; labeling partial.

- SOPs and safety protocols required.

- Usage logs required.

Analog Electronics Lab (R.N. 317)

- Multiple “Partial” statuses in sorting and labeling.

- SOPs, safety protocols, and equipment usage logs required.

4. Overall Recommendation

- Standardize Component Labeling – Ensure all component bins and storage areas are clearly labeled.

- Implement SOPs and Safety Protocols – Develop documented procedures for component handling and electrical safety.

- Establish Calibration & Maintenance Schedules – Maintain records of calibration dates and preventive maintenance.

- Introduce Equipment Usage Logs – Track usage to identify wear trends and prevent misuse.

- Conduct Safety Reviews Monthly – Include hazard identification and mitigation measures.

- Create Continuous Improvement Mechanism – Encourage staff and students to propose 5S-related improvements regularly.